## Slide 1: 17 LID Lessons Learned
Dan Cloak, P.E.

## Slide 2: 1. Elegance
Regulatory Drivers
Mandate
Client support
Acceptance of costs
Structure
Schedule
Accountability
Project Quality
Enthusiasm
Interest
Energy
Synergies
Opportunities
Elegance

## Slide 3: 2. Barriers, What Barriers?

## Slide 4: 3. Low Cost Option
Capital Costs
Operation and Maintenance Costs

## Slide 5: 4. Four Percent
½ Acre
4%
30 ft

## Slide 6: 5. Nearly Everywhere
DMAs

## Slide 7: 6. Lot Size, Not Land Use

## Slide 8: 7. Deemed Complete
Pre-Application
Meeting
Completed
Application
“Deemed
Complete”
Section
Review
CEQA
Review
Conditions of
Approval
Planning
Commission
Detailed
Design
Plan Set and Permit Application
Construction

## Slide 9: 8. Subdivisions

## Slide 10
1-RF
1846
1-RR
1388
1-DW
805
1-FY-1
780
1-FY-2
1625
1-RY
4910
2-RF
2204
2-RR
2550
2-FY-2 370
2-RY
3580
2-DW
400
2-FY-1
1620
3-RF
1846
3-RR
1388
3-DW
1000
3-RY
3775
3-FY-1
1145
3-FY-2
1665
4-FY-1
730
4-FY-2
1575
4-RY
8045
4-DW
520
4-RF
1792
4-RR
1753
5-RF
1846
5-RR
1388
5-FY-1
1045
5-FY-2
1790
5-RY
5390
5-DW
955
6-RY
8235
6-RF
1792
6-RR
1753
6-DW
555
6-FY-2
615
6-FY-1
1615
7-RF
2204
7-RR
2550
7-DW
670
7-FY-1
1615
7-FY-2 920
7-RY
2760
8-RF
1792
8-RR
1753
8-RY
4190
8-FY-1 870
8-DW
480
8-FY-2
1715
9-RF
2204
9-RR
2550
9-RY
4150
9-DW
370
9-FY-1 460
9-FY-2
1670
S-1
9330
S-2
10370
HP
LP
50 feet
Stormwater Control Plan Exhibit Whispering Pines Lane
Bioretention 2 2700 SF
+103.6
+103.2
+102.4
EXAMPLE RESIDENTIAL SUBDIVISION EXHIBIT SEPTEMBER 24, 2015
Bioretention 1 2600 SF
8. Subdivisions
Drain a portion of each roof to yard
Drain driveways to street
Drain street to bioretention facilities on commonly owned parcels

## Slide 11: 9. Bioretention
infiltration
evapotranspiration
Discharge
(biotreatment)
losses

## Slide 12: 10. Flat, Flat, Flat

## Slide 13: 10. Flat, Flat, Flat

## Slide 14: 10. Flat, Flat, Flat
Or this
Not this

## Slide 15: 10. Flat, Flat, Flat

## Slide 16: 10. Flat, Flat, Flat

## Slide 17: 11. Overflow
Overflow elevation

## Slide 18: 12. Raised Underdrain

## Slide 19: 13. Keep It On the Surface

## Slide 20: 14. Geotechnically…

## Slide 21: 14. Geotechnically…

## Slide 22: 15. Sand and Compost

## Slide 23: 16. Pollutant Build-Up

## Slide 24: 17. Resilience

## Slide 25: 17. Resilience

## Slide 26: 17 LID Lessons Learned
Dan Cloak, P.E.